# CUSTOMER:       JOB REF:     	Heat Exchanger Inquiry Form

| TYPE OF HEAT EXCHANGER |
| --- |
| Type of Shell & Tube Heat Exchanger | Straight Tube U-Tube |
|  | Fixed Tube Sheet Floating Tube Sheet |
|  | Removable Bundle Other – |
| Type of Plate & Frame Heat Exchanger | Gasketed Semi-Welded Fully Welded Brazed |
| Type of Air Cooled Heat Exchanger – (In relation to Fan side air flow | Vertical Horizontal Electrical Available: 1 PH 3 PH 50 Hz 60 Hz |

| THERMAL REQUIREMENTS |
| --- |
|  | Hot Side | Cold Side |
| Fluid Circulated |  |  |
| Total Fluid Entering |  | GPM lbs/hr CFM |  | GPM lbs/hr CFM |
| - Vapor (lbs/hr) |  |  |
| - Liquid (lbs/hr) |  |  |
| - Steam (lbs/hr) |  |  |
| - Non-Condensable (lbs/hr) |  |  |
| - Fluid Vaporized or Condensed (lbs/hr) |  |  |
| Physical Property Data* |
| - Specific Gravity or Density (In/Out) | / | lb/ft3 | / | lb/ft3 |
| - Viscosity (In/Out) | / | cps | / | cps |
| - Specific Heat (Avg.) |  | BTU/lb-°F |  | BTU/lb-°F |
| - Thermal Conductivity |  | BTU/lb-ft-°F |  | BTU/lb-ft-°F |
| - Latent Heat |  | BTU/lb |  | BTU/lb |
| Temperature In |  | °F °C |  | °F °C |
| Temperature Out |  | °F °C |  | °F °C |
| Operating Pressure |  | psig |  | psig |
| Allowable Pressure Drop |  | psi |  | psi |
| Fouling Factor |  | ft2hr°F/BTU |  | ft2hr°F/BTU |
| Heat Exchanged |  | BTU/hr |
| * For uncommon fluids only, physical properties at various temperatures and condensing curves must be provided |

| CONSTRUCTION REQUIREMENTS |
| --- |
|  | Hot Side | Cold Side |
| Design Pressure |  |  |
| Design Temperature |  |  |
| Connection type, Fittings |  |  |
| Hot Side |  |
| Cold Side |  |
| Code Requirements: | Commercial Standard |
|  | ASME Section VIII, Division 1 |
|  | TEMA Specify Class B C R |
|  | API Specification 614 618 660 661 |
|  | Other – Please specify – |